## B) TECH DEPT
Lay-Up Vessel - Stagnant Water Lines WEEKLY Flushing Log
Department: TECHNICAL
WEEKLY FLUSHING SHEET
Every (Insert Day Here) of the Week
LOCATION (DECK / FZ) | VENUE | POTBALE WATER CONSUMER (suggested but non-exhaustive list) | IN USE ( YES / NO) |  | REMOVED (YES / NO) | FLUSHING DATE | SIGNATURE
Water taps on open decks
Pumps connected to potable water system
Water back up pumps
Bunker station piping
Window washing machines when connected to potable water system
Hand wash sinks (workshops, tech stores/ areas)
Sampling points (i.e. plant room, RO area)
[Other]
[Other]
[Other]
[Other]
[Other]
[Other]
[Other]
[Other]
[Other]
[Other]
[Other]
[Other]
[Other]
[Other]
[Other]
[Other]
[Other]
[Other]
The lines needs to be flushed by leaving the taps open for 5mins
I confirm that that all water water outlets not used within 7 days are recorded here and have been flushed
Please submit the copy of the flushing sheet to the Department Head.
A signed Copy is to filed and retained for 12 months
1. Within the last week, are there any water outlets or devices operating with water (e.g laundry, ware washing machines) which were not used?
YES NO
If YES, please complete the table and perform 5 minutes flushing in both cold and hot water.
2. Within the last week, have any water features or devices removed or disconnected (sinks, water fountains, ware-washing machines etc.) from the potable water system?
YES NO
If YES, please Specify: Deck:…………….. Fire Zone:…………….. Type of equipment: ……………. AND inform Head of Dept
3. Within the last week, have new devices been connected/installed to potable water system e.g. chemicals/chlorine dispensers?
YES NO
If YES, please Specify: Deck:…………….. Fire Zone:…………….. Type of equipment: ……………. AND inform Head of Dept
4. Within the last week, have any location of the ship been renovated and is currently used for a purpose other than the one initially created?
YES NO
If YES, please Specify: Deck: …………….. Fire Zone: …………….. Type of water outlet that have been connected/installed or disconnected: ……..……….
AND inform Head of Dept.
Submitted By: | Name:__________ |  |  | Chief Engineer |  | _________________________